# VISA DLL issue in Latte GUIs

- The absence or improper installation of VISA DLL and related driver files may render the GUI unable to communicate with the EVM.

- When opening the GUI, an error message related to “Visa” or “Visa32” will appear in the logs section of latte like below (Error may not be exactly same).

- If the issue is only the absence of visa DLL files, you can try the following solution and it should work:

  - Close the GUI completely

  - Paste the Visa dll files in install_dir\bin folder and C:\Windows\System32

  - Open the GUI again.

- If the above method did not resolve the issue, please try downloading and installing the NI-Visa software from the below official link after closing the GUI:

  - https://www.ni.com/en/support/downloads/drivers/download.ni-visa.html

  - After installing, open the GUI again